The analysis of hair samples with chromatography-tandem mass spectrometry (LC-MS/MS) contains the following steps. Hair strands are washed with 2.5 ml isopropanol for three minutes and then dried under a fume hood for 12 hours. The dried hair is pulverized, and 10 mg of powder is weighed. To this, 50 µl of a standard solution (cortisol in methanol at 60 ng/ml) and 1.8 ml methanol are added, followed by incubation at room temperature for 18 hours. Samples are then centrifuged at 10,000 rpm, and 1 ml of the clear supernatant is transferred to a new tube. The alcohol is evaporated under a nitrogen stream at 65 °C until dry. The residue is reconstituted in 250 µl distilled water and used for LC-MS analysis.